SINGLE FAMILY RESIDENCE COMMON PLAN of DEVELOPMENT or SALE

STORMWATER POLLUTION PREVENTION PLAN (SWPPP)

For Construction Activities At:

Insert Project/Site Name

Insert Project/Site Location & Address

Insert City/Town/County, State, Zip Code

Latitude: _ _ . _ _ _ _ N (decimal degrees)

Longitude: _ _ . _ _ _ _ W (decimal degrees)

Construction Activity Operator:

Insert Company/Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Email Address

Insert 24-hour Emergency Contact

SWPPP Preparation Date:

Insert Month, Day, Year

CERTIFICATION

- “I certify under penalty of law that I have read and understand this document and that this document and all attachments were prepared in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

- I am aware that approval for coverage under this agreement does not relieve any operator of the responsibility to comply with any other applicable federal, state or local statute, ordinance or regulation.

- I am aware that all Construction General Permit conditions apply to the land disturbance activity authorized by the signed Agreement in Lieu of a Stormwater Management Plan that is contained in this SWPPP. I shall review the permit and retain a copy of the general permit onsite as a part of the project SWPPP.”

  - “I am aware of the permit reporting requirements for noncompliance and for unauthorized or unusual discharges and that these include:

    - Part III.H requirements to promptly notify, in no case less than 24 hours, the local VSMP Authority and the Department of unusual and extraordinary discharges that include flooding or other acts of nature.

    - Part III.I requirements to report any noncompliance which may adversely affect surface waters or may endanger public health within 24 hours.”

  - “I am aware of the part 1.D detailed prohibitions of nonstormwater discharges that include

concrete and other washout/cleanout.”

Owner/Operator 	 			Owner/Operator

Name: 						Title:

Signature: 	 	Date:

AUTHORIZATION STATEMENT FOR ANOTHER PERSON TO SIGN SWPPP RELATED DOCUMENTS:

“I,_________________________, having signed the original certification statement for this project, authorize __________________________(the authorization may be for either an individual or a position having responsibility for the overall operation of the regulated facility or activity) to sign all reports required by permits, including SWPPPs, and other information requested by the Board, the Department, or the Town of Christiansburg.”

“I, ______________________, having received authorization from the Construction Activity Operator to report information required under this permit, certify under penalty of law that I have read and understand this document and that this document and all attachments were prepared in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

| Signature (Owner/Operator Signature) |  | Date |
| --- | --- | --- |

| Signature (Authorized Individual, if a specific individual) | Date |
| --- | --- |

Email and Phone # of Authorized Signatory

1.0 	SWPPP Documents Located Onsite & Available for Review

SWPPP Document Type  	 	 	 	 	Located Onsite & Available for Review?

Registration Statement 	 	 	 	 	 	  Yes  	  NA

Notice of Coverage Letter  	 	 	 	 	  Yes  	  NA

SWPPP Contact Posting  	 	 	 	 	  Yes  	  NA

Construction General Permit 	 	 	 	 	  Yes  	  NA

Site Plan 	 	 	 	 	 	 	  Yes  	  NA

Erosion & Sediment Control Plan (or agreement in lieu of) 	 	  Yes  	  NA

Stormwater Management Plan (or agreement in lieu of) 	 	  Yes  	  NA

Town  Land Disturbance Permit 	 	 	 	 	  Yes  	  NA

2.0 	Authorized Non-Stormwater Discharges

Type of Authorized Non-Stormwater Discharge 	 	 	Likely Present at Your Project Site?

External buildings wash down 	 	 	 	 	  Yes  	  No

Uncontaminated foundation or footing drains  	 	 	  Yes  	  No

Uncontaminated excavation dewatering 	 	 	 	  Yes  	  No

Landscape irrigation 	 	 	 	 	 	  Yes  	  No

Others [describe]  	 	 	 	 	 	  Yes  	  No

Others [describe]  	 	 	 	 	 	  Yes  	  No

3.0  	Pollution Prevention Awareness

Employees will be given a “walk through” of the site identifying areas of possible pollution and will be shown Erosion and Sediment Controls and Pollution Prevention Practices (identified in Sections 4.0 and 5.0 of this SWPPP) that are applicable to their assigned job duties. A refresher meeting and “walk through” will be conducted on an as needed basis.

4.0 	Erosion & Sediment Controls

| Select all that apply | Erosion & Sediment Control | Estimated Installation Date | Estimated Removal Date | Responsible Party |
| --- | --- | --- | --- | --- |
|  | Construction Entrance (Std. & Spec. 3.02) | Insert Date | Insert Date | Construction Activity Operator (See Cover Page of this SWPPP) |
|  | Silt Fence (Std. & Spec. 3.05) | Insert Date | Insert Date |  |
|  | Culvert Inlet Protection (Std. & Spec. 3.08) | Insert Date | Insert Date |  |
|  | Outlet Protection (Std. & Spec. 3.18) | Insert Date | NA |  |
|  | Temporary Seeding (Std. & Spec. 3.31) | As required by 3.31 | NA |  |
|  | Permanent Seeding (Std. & Spec. 3.32) | Insert Date | NA |  |
|  | Sodding (Std. & Spec. 3.33) | Insert Date | NA |  |
|  | Mulching (Std. & Spec. 3.35) | Insert Date | NA |  |
|  | Others [describe] | Insert Date | Insert Date |  |

# STORMWATER POLLUTION PREVENTION PLAN

Insert Project/Site Name

5.0 	Potential Sources of Pollution & Pollution Prevention Practices

| Pollutant-Generating Activity |  |  |  | Pollutants |  |  |  |  |  |  |  | Pollution Prevention Practice | Responsible Party |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Likely Present at your Project Site? |  | Sediment | Nutrients | Heavy Metals | pH (acids and bases) | Pesticides & Herbicides | Oil & Grease | Bacteria & Viruses | Trash, Debris, Solids | Other Toxic Chemicals |  |  |
| Clearing, grading, excavating, and un-stabilized areas | Yes | No | X |  |  |  |  |  |  | X |  | (1) | Construction Activity Operator (See Cover Page of this SWPPP) |
| Paving operations | Yes | No | X |  |  |  |  | X |  | X |  | (2) |  |
| Concrete washout and cement waste | Yes | No |  |  | X | X |  |  |  | X |  | (3) |  |
| Structure construction, stucco, painting, and cleaning | Yes | No |  |  | X | X |  |  |  | X | X | (4) |  |
| Dewatering operations | Yes | No | X | X |  |  |  |  |  | X |  | (5) |  |
| Material delivery and storage | Yes | No | X | X | X | X |  | X |  | X | X | (6) |  |
| Material use during building process | Yes | No |  | X | X | X |  | X |  | X | X | (7) |  |
| Solid waste disposal | Yes | No |  |  |  |  |  |  |  | X | X | (8) |  |
| Sanitary waste | Yes | No |  | X |  | X |  |  | X |  |  | (9) |  |
| Landscaping operations | Yes | No | X | X |  |  | X |  |  | X | X | (10) |  |
| Others [describe] | Yes | No | [X] | [X] | [X] | [X] | [X] | [X] | [X] | [X] | [X] | (11) |  |
| Others [describe] | Yes | No | [X] | [X] | [X] | [X] | [X] | [X] | [X] | [X] | [X] | (12) |  |

Pollution Prevention Practices:

- Clearing, grading, excavating and un-stabilized areas – Utilize erosion and sediment controls to prevent sediment laden or turbid runoff from leaving the construction site.  Dispose of clearing debris at acceptable disposal sites. Apply permanent or temporary stabilization, sodding and/or mulching to denuded areas in accordance with the erosion and sediment control specifications and the general VPDES permit for discharges of stormwater from construction activities.

- Paving operations – Cover storm drain inlets during paving operations and utilize pollution prevention materials such as drip pans and absorbent/oil dry for all paving machines to limit leaks and spills of paving materials and fluids.

- Concrete washout and cement waste – Direct concrete wash water into a leak-proof container or leak-proof settling basin that is designed so that no overflows can occur due to inadequate sizing or precipitation. Hardened concrete wastes shall be removed and disposed of in a manner consistent with the handling of other construction wastes.

- Structure construction, stucco, painting and cleaning – Enclose, cover or berm building material storage areas if susceptible to contaminated stormwater runoff.  Conduct painting operations consistent with local air quality and OSHA regulations.  Mix paint indoors, in a containment area or in a flat unpaved area. Prevent the discharge of soaps, solvents, detergents and wash water from construction materials, including the clean-up of stucco paint, form release oils and curing compounds.

- Dewatering operations – Construction site dewatering from building footings or other sources may not be discharged without treatment.  Sediment laden or turbid water shall be filtered, settled or similarly treated prior to discharge.

- Material delivery and storage – Designate areas of the construction site for material delivery and storage.  Place near construction entrances, away from waterways, and avoid transport near drainage paths or waterways.

- Material use during building process – Use materials only where and when needed to complete the construction activity.  Follow manufacturer’s instructions regarding uses, protective equipment, ventilation, flammability and mixing of chemicals.

- Solid waste disposal – Designate a waste collection area on the construction site that does not receive a substantial amount of runoff from upland areas and does not drain directly to a waterway.  Ensure that containers have lids so they can be covered before periods of rain, and keep containers in a covered area whenever possible.  Schedule waste collection to prevent the containers from overfilling.

- Sanitary waste – Prevent the discharge of sanitary waste by providing convenient and well-maintained portable sanitary facilities.  Locate sanitary facilities in a convenient location away from waterways.

- Landscaping operations – Maintain as much existing vegetation as practicable.  Apply permanent or temporary stabilization, sodding and/or mulching to denuded areas in accordance with the erosion and sediment control specifications and the general VPDES permit for discharges of stormwater from construction activities.  Apply nutrients in accordance with manufacturer’s recommendations and not during rainfall events.

- Others – If applicable, describe your Pollution Prevention Practice.

6.0 	Stormwater Management Controls

| Select all that apply | Stormwater Management Control | Estimated Installation Date | Responsible Party |
| --- | --- | --- | --- |
|  | Post-development Stormwater Management Controls provided by a Larger Common Plan of Development or Sale | NA | Common Plan Construction Activity Operator |
|  | Rooftop Disconnection | Insert Date | Construction Activity Operator (See Cover Page of this SWPPP) |
|  | Sheetflow to Vegetated Filter (1 or 2) | Insert Date |  |
|  | Grass Channel | Insert Date |  |
|  | Rainwater Harvesting | Insert Date |  |
|  | Permeable Pavement (1 or 2) | Insert Date |  |

| Select all that apply | Stormwater Management Control | Estimated Installation Date | Responsible Party |
| --- | --- | --- | --- |
|  | Infiltration (1 or 2) | Insert Date | Construction Activity Operator (See Cover Page of this SWPPP) |
|  | Bioretention (1 or 2) | Insert Date |  |
|  | Others [as authorized in the SWM in lieu agreement] | Insert Date |  |

7.0 	Spill Prevention & Response

Most spills can be cleaned up following manufacturer specifications. Absorbent/oil dry, sealable containers, plastic bags, and shovels/brooms are suggested minimum spill response items that should be available at this location.

1st Priority: 	Protect all people

2nd Priority: 	Protect equipment and property

3rd Priority: 	Protect the environment

4th Priority: Report all unauthorized discharges into or onto surface waters or that may reasonably be expected to enter surface waters

    - Check for hazards (flammable material, noxious fumes, cause of spill) – if flammable liquid, turn off engines and nearby electrical equipment.  If serious hazards are present leave the area and call 911. LARGE SPILLS ARE LIKELY TO PRESENT A HAZARD.

    - Make Sure the spill area is safe to enter and that it does not pose an immediate threat to health or safety of any person.

    - Stop the spill source.

    - Call co-workers and supervisor for assistance and to make them aware of the spill and potential dangers.

    - If possible, stop spill from entering drains (use absorbent or other material as necessary).

    - Stop spill from spreading (use absorbent or other material)

    - If spilled material has entered a storm sewer; contact locality’s storm water department.

    - Clean up spilled material according to manufacturer specifications, for liquid spills use absorbent materials and do not flush area with water.

    - Properly dispose of cleaning materials and used absorbent material according to manufacturer specifications.

Emergency Contacts:

Normal Working Hours

Town of Christiansburg Engineering Dept. 	 	 	 	 	 	540 382-6120

DEQ Blue Ridge Regional Office (Roanoke)  	 	 	 	 	 	540-562-6700

Nights, Holidays & Weekends

VA Dept. of Emergency Management 	 	 	 	 	 	 	800-468-8892

24 Hour Reporting Service

Local Contacts

Fire & Rescue Departments 	 	 	 	 	 	 	 	 	   911

Town of Christiansburg Police Department  	 	 	 	 	 	 	540 382-3131

8.0  	Inspections & Corrective Action Log (make additional copies as necessary)

Inspection Date: __________________ Measurable Storm Event Date & Amount:_________________________

Inspection Schedule:

Discharges to surface waters: (Select an applicable schedule for this project)

Once every 5 business days; or

Once every 10 business days and no later than 24 hours following a measurable storm event.

Discharges to impaired waters, surface waters within a TMDL watershed, or exceptional waters:

Once every 4 business days; or

Once every 5 business days and no later than 24 hours following a measurable storm event.

| Best Management Practices (BMPs) | In Compliance with SWPPP? | Describe Corrective Action Taken | Date Corrective Action Taken |
| --- | --- | --- | --- |
| Erosion & Sediment Controls (Section 4.0) | Yes No |  |  |
| Pollution Prevention Practices (Section 5.0) | Yes No |  |  |
| Stormwater Management Controls (Section 6.0) | Yes No NA |  |  |
| Describe any Spills, Flooding, Unauthorized Discharges | Notification | Describe Notification(s) & Corrective Action(s) Taken | Date Corrective Action Taken |
|  | Yes No NA Date:________ |  |  |

Certification

“I certify under penalty of law that I have read and understand this document and that this document and all attachments were prepared in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

Operator Name: ____________________________   OR 	Inspector Name: ____________________________

Signature: _________________________________  	Signature: _________________________________

Date: _____________________________________  	Date: _____________________________________

9.0 	Grading & Stabilization Activities Log (make additional copies as necessary)

| Date Grading Activity Initiated | Description of the Grading Activity (including location) | Date Grading Activity Ceased | Date Stabilization Measures Initiated | Description of the Stabilization Measure (including location) |
| --- | --- | --- | --- | --- |

10.0 	SWPPP Modification & Update Log

| Modification Date | Description of the Modification / Update | Modification Prepared By (name & title) |
| --- | --- | --- |

INSTRUCTIONS for COMPLETING the

SINGE FAMILY RESIDENCE, COMMON PLAN of DEVELOPMENT or SALE

STORMWATER POLLUTION PREVENTION PLAN (SWPPP)

General

A Stormwater Pollution Prevention Plan (SWPPP) must be developed prior to obtaining County authorization to commence land disturbance.

Cover Page

For a construction activity, enter the project/site name and physical address if available.  Enter the latitude and longitude in decimal degrees of the construction activity.

Enter the Construction Activity Operator’s company/organization name, the Operator’s name and mailing address, including city, state, and zip code, telephone number, email address (if available), and a 24-hour emergency contact.

Enter the SWPPP preparation date.

The Construction Activity Operator identified on the cover page of the SWPPP is responsible for certifying the information contained therein.  Please sign the certification in INK.  Please note that state statutes require the SWPPP to be signed as follows:

- For a corporation: by a responsible corporate officer;

- For a partnership or sole proprietorship: by a general partner or the proprietor, respectively;

- For a municipality, state, federal, or other public agency: by either a principal executive officer or ranking elected official.

## Section 1.0 SWPPP Documents Located Onsite & Available for Review

Utilize the provided checklist to ensure that the required SWPPP documents are located onsite and are available for review, if applicable.

## Section 2.0 Authorized Non-Stormwater Discharges

Identify the authorized non-stormwater discharges likely to be present at the project site.  If an unlisted authorized non-stormwater discharge is likely to be present at the project site, provide it here.

## Section 3.0 Pollution Prevention Awareness

Provide employees with a “walk through” of the project site and identify areas of possible pollution, erosion and sediment controls, and pollution prevention practices which are applicable to their assigned job duties.  Conduct refresher meetings and perform additional “walk throughs” on an as needed basis.

## Section 4.0 Erosion & Sediment Controls

Identify the erosion and sediment controls to be implemented at the project site.  For each erosion and sediment control, enter the estimated installation date and estimated removal date.  If an unlisted erosion and sediment control will be implemented at the project site, provide the applicable information here.

## Section 5.0 Potential Sources of Pollution & Pollution Prevention Practices

Identify the pollutant-generating activities likely to be present at the project site; implement and maintain the corresponding pollution prevention practices.  If an unlisted pollutant-generating activity is likely to be present at the project site, describe it, identify the associated pollutant(s), and provide the corresponding pollution prevention practice(s) to be implemented and maintained.

## Section 6.0 Stormwater Management Controls

Identify the stormwater management controls to be implemented at the project site, if applicable.  For each stormwater management control, enter the estimated installation date.  If an unlisted stormwater management control will be implemented at the project site, provide the applicable information here.

## Section 7.0 Spill Prevention & Response

Most spills can be cleaned up following manufacturer specifications.  The priority should be to protect all people, equipment, property, and the environment.  Reporting of any spill that has or may reasonably be assumed to enter surface waters must be reported in compliance with section III.G of the Construction General Permit.

## Section 8.0 Inspections & Corrective Action Log

Enter the qualified inspector’s company/organization name, the inspector’s name, telephone number, and qualifications.  Select the applicable inspection schedule, enter the construction activity inspection date, and enter the date and rainfall amount of the last measurable storm event (if applicable).  Identify if the implemented best management practices are in compliance with the SWPPP.  Enter corrective actions needed; the party responsible for implementing the corrective actions, and the date corrective actions were taken, if applicable. Record and Report any spill that has or may reasonably be assumed to enter surface waters in compliance with section III.G of the Construction General Permit. Make additional copies of the inspection and corrective action log as necessary.

## Section 9.0 Grading & Stabilization Activities Log

Enter the date grading activities were initiated, a description of the grading activities including location, the date grading activities ceased, the date stabilization measures were initiated, and a description of the stabilization measures including location.

## Section 10.0 SWPPP Modification & Update Log

Enter the SWPPP modification date, description of the SWPPP modification/update, and the name and title of the SWPPP modification preparer, if applicable.